## Sheet1
P&ID_Filename | Instrument_Tag | Instrument_Type | Description | Location | X_Coordinate | Y_Coordinate | Radius | Source_PID_File
complex44-00-30025-A.pdf | HIC-7099 | HIC | Hand Indicator Controller | Field | 5858 | 364 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TI-5740 | TI | Temperature Indicator | Field | 6398 | 446 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TI-5741 | TI | Temperature Indicator | Field | 6602 | 446 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PI-3730 | PI | Pressure Indicator | Field | 6806 | 446 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PI-3731 | PI | Pressure Indicator | Field | 7010 | 446 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FI-1730 | FI | Flow Indicator | Field | 7214 | 446 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HZSC-7099 | HZSC |  | Field | 5392 | 544 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HZLC-7099 | HZLC |  | Field | 5672 | 544 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ק | ק |  | Field | 9162 | 578 | 68 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PZA-3060 | PZA |  | Field | 2054 | 782 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PY-3060 | PY |  | Field | 1500 | 1254 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PIC-3060 | PIC |  | Field | 2054 | 1254 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XZSO-9008 | XZSO |  | Field | 4140 | 1284 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XZSC-9008 | XZSC |  | Field | 4394 | 1284 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHSO-9008B | XHSO |  | Field | 2862 | 1354 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHSC-9008A | XHSC |  | Field | 3046 | 1354 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHSC-9008 | XHSC |  | Field | 3250 | 1354 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHSO-9008 | XHSO |  | Field | 3430 | 1354 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TI-5741 | TI | Temperature Indicator | Field | 7956 | 1420 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PI-3730 | PI | Pressure Indicator | Field | 8796 | 1458 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PDI-3063 | PDI | Pressure Differential Indicator | Field | 7214 | 1488 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PI-3731 | PI | Pressure Indicator | Field | 7552 | 1562 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ΤΙ-5740 | ΤΙ |  | Field | 9322 | 1608 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FI-1730 | FI | Flow Indicator | Field | 8370 | 1630 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PG-4097 | PG |  | Field | 1852 | 1672 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3060 | PT | Pressure Transmitter | Field | 2054 | 1674 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HS-9021 | HS |  | Field | 5894 | 1686 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XZSO-9008 | XZSO |  | Field | 4074 | 1802 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XZSC-9008 | XZSC |  | Field | 4426 | 1802 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHS-9722 | XHS |  | Field | 7942 | 1872 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PALL-3071 | PALL |  | Field | 6006 | 1874 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HSR-9017 | HSR |  | Field | 7506 | 1952 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHS-9711A | XHS |  | Field | 8400 | 1990 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHS-9711 | XHS |  | Field | 8700 | 1990 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHS-9711B | XHS |  | Field | 9000 | 1990 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FI-1730 | FI | Flow Indicator | Field | 6532 | 2090 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HS-9017A/B | HS |  | Field | 7506 | 2132 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HS-9711 | HS |  | Field | 9300 | 2140 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHS-9711C | XHS |  | Field | 9600 | 2140 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HS-7714 | HS |  | Field | 8894 | 2304 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HIC-7098 | HIC | Hand Indicator Controller | Field | 4124 | 2358 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HS-7713 | HS |  | Field | 8888 | 2484 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HS-7112R/ | HS |  | Field | 7410 | 2496 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XS-7777 | XS |  | Field | 8434 | 2608 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PDT-3073 | PDT |  | Field | 3838 | 2808 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HS-7712 | HS |  | Field | 7924 | 2812 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ХА-7777 | ХА |  | Field | 7050 | 2814 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | НА-7778 | НА |  | Field | 7274 | 2814 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | НА-7713 | НА |  | Field | 7500 | 2814 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XHL-9722 | XHL |  | Field | 7724 | 2814 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XL-7720 | XL |  | Field | 8132 | 2816 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HL-7798 | HL |  | Field | 8744 | 2828 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FZSO-1730 | FZSO |  | Field | 4462 | 2918 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FZT-1730 | FZT |  | Field | 5062 | 2920 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | HS-7778 | HS |  | Field | 8394 | 2928 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PDAL-3073 | PDAL |  | Field | 3290 | 3002 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PI-3730 | PI | Pressure Indicator | Field | 7174 | 3004 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PDG-4049 | PDG |  | Field | 3840 | 3048 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TI-5741 | TI | Temperature Indicator | Field | 5400 | 3266 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FT-1730B | FT | Flow Transmitter | Field | 6138 | 3286 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FT-1730C, | FT | Flow Transmitter | Field | 6328 | 3286 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FIT-1730A | FIT | Flow Indicator Transmitter | Field | 5958 | 3296 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PAHH-3070 | PAHH |  | Field | 3574 | 3318 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TT-5741B | TT | Temperature Transmitter | Field | 5392 | 3430 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ΤΙ-5106 | ΤΙ |  | Field | 9532 | 3444 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3071 | PT | Pressure Transmitter | Field | 6014 | 3506 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TI-5740 | TI | Temperature Indicator | Field | 6602 | 3508 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3070 | PT | Pressure Transmitter | Field | 3248 | 3542 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TG-6711 | TG |  | Field | 4942 | 3554 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TG-6075 | TG |  | Field | 9434 | 3580 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TAHH-5109 | TAHH |  | Field | 4642 | 3590 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TE-5109 | TE | Temperature Element | Field | 3878 | 3592 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TT-5109 | TT | Temperature Transmitter | Field | 4148 | 3592 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TT-5741A | TT | Temperature Transmitter | Field | 5580 | 3592 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TE-5741A/B | TE | Temperature Element | Field | 5168 | 3594 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TT-5740A | TT | Temperature Transmitter | Field | 6432 | 3618 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TG-6710 | TG |  | Field | 6014 | 3664 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TE-5106 | TE | Temperature Element | Field | 9532 | 3710 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TE-5740A/B | TE | Temperature Element | Field | 6112 | 3804 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TT-5740B | TT | Temperature Transmitter | Field | 6392 | 3906 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TG-6028 | TG |  | Field | 5978 | 3936 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PIC-3201 | PIC |  | Field | 2332 | 3948 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3201 | PT | Pressure Transmitter | Field | 2564 | 3948 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TT-5741C | TT | Temperature Transmitter | Field | 5036 | 4046 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TE-5741C | TE | Temperature Element | Field | 5324 | 4046 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FT-1052 | FT | Flow Transmitter | Field | 9644 | 4074 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XY-7778/7779 | XY |  | Field | 7642 | 4082 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PG-4799 | PG |  | Field | 8008 | 4096 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PZA-3201 | PZA |  | Field | 2586 | 4142 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TG-6799 | TG |  | Field | 7808 | 4164 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | XZSO-7787 | XZSO |  | Field | 7178 | 4170 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TE-5740C | TE | Temperature Element | Field | 5976 | 4176 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TT-5740C/ | TT | Temperature Transmitter | Field | 6322 | 4178 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | TG-6027 | TG |  | Field | 5180 | 4180 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PI-3731 | PI | Pressure Indicator | Field | 4702 | 4302 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | FI-1052 | FI | Flow Indicator | Field | 9554 | 4344 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3730A | PT | Pressure Transmitter | Field | 6304 | 4374 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3731A | PT | Pressure Transmitter | Field | 5004 | 4434 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3730B | PT | Pressure Transmitter | Field | 6538 | 4488 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3731B | PT | Pressure Transmitter | Field | 4816 | 4528 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PG-4051 | PG |  | Field | 6328 | 4576 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3731C | PT | Pressure Transmitter | Field | 4726 | 4682 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PT-3730C | PT | Pressure Transmitter | Field | 6334 | 4740 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PG-4050 | PG |  | Field | 4904 | 4786 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PY-3051A | PY |  | Field | 1314 | 4846 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PDG-4052 | PDG |  | Field | 6216 | 4928 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PHIC-3740 | PHIC |  | Field | 1640 | 4952 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PG-4730 | PG |  | Field | 6076 | 5124 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | PG-4731 | PG |  | Field | 5142 | 5176 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | SE-7775D/E | SE |  | Field | 6256 | 5508 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | SE-7775A/B/C | SE |  | Field | 6448 | 5508 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | SY-7775 | SY |  | Field | 7560 | 5514 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ST-7775D/ | ST |  | Field | 6058 | 5686 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ST-7775A | ST |  | Field | 6260 | 5688 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ST-7775B | ST |  | Field | 6450 | 5688 | 73 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ST-7775C | ST |  | Field | 6632 | 5690 | 75 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | ST-7775E | ST |  | Field | 6060 | 5880 | 76 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | GA: | GA: |  | Field | 8346 | 5930 | 64 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | SI-7775 | SI |  | Field | 5796 | 6130 | 74 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | 0-0 | 0 |  | Field | 8978 | 6668 | 70 | complex44-00-30025-A.pdf
complex44-00-30025-A.pdf | 0-30 | 0 |  | Field | 9244 | 6872 | 64 | complex44-00-30025-A.pdf